## Warranty
PROJECT NAME:
PROJECT #:
CM@R NAME:
SPECIAL WARRANTY REQUIREMENTS
WARRANTY DURATION (YEARS) | WARRANTY DESCRIPTION | MANUFACTURER NAME | MANUFACTUER CONTACT INFO | WARRANTY EXPIRATION DATE | SUBCONTRACTOR NAME | ü
IF RECEIVED
5 | Expansion Joint System |  |  |  |  | ¨
2 | Joint Sealer |  |  |  |  | ¨
5 | Waterproofing (sheet membrane) |  |  |  |  | ¨
5 | Bentonite Waterproofing |  |  |  |  | ¨
20 | Aluminum Framed Entrance |  |  |  |  | ¨
5 | Laminated Glass |  |  |  |  | ¨
20 | Insulating Glass |  |  |  |  | ¨
5 | Fire Rated Glass |  |  |  |  | ¨
20 | Metal Wall Panels |  |  |  |  | ¨
20 | Thermo Plastic Membrane Roofing |  |  |  |  | ¨
2 | Metal Roof Panels |  |  |  |  | ¨
2 | Door's Manufacturing Warranty (Steel) |  |  |  |  | ¨
2 | Door's Manufacturing Warranty (Wood) |  |  |  |  | ¨
10 | Door Closers (Door Hardware) |  |  |  |  | ¨
3 | Exit Devices (Door Hardware) |  |  |  |  | ¨
3 | Locksets & Cylinders (Door Hardware) |  |  |  |  | ¨
10 | Carpet Tiles |  |  |  |  | ¨
25 | Roller Shade Hardware, Chain & Shade cloth |  |  |  |  | ¨
15 | Mirrors |  |  |  |  | ¨
5 | Wall Surface Protection Systems |  |  |  |  | ¨
2 | Heat Exchanger |  |  |  |  | ¨
5 | Terminal Heating and cooling Units |  |  |  |  | ¨
2 | Radiant Heating |  |  |  |  | ¨
5 | Ducts |  |  |  |  | ¨
5 | Duct Accessories |  |  |  |  | ¨
5 | Air Terminal Units |  |  |  |  | ¨
5 | Transient Voltage Surge Suppression and Filter System |  |  |  |  | ¨
8 | Central Dimming Controls |  |  |  |  | ¨
2 | Fire Alarm System |  |  |  |  | ¨

## Training
PROJECT NAME:
PROJECT #:
CM@R NAME:
TRAINING SCHEDULE FOR NAU TRADES
SECTION: | TRAINING DESCRIPTION: | SUBCONTRACTOR: | DATE: | TIME: | STATUS:
Landscaping: | Irrigation system and programming
Door & Hardware: | Door closer tune-up
6 pin cylinder set-up
Automatic door openers
ADA push button.
Operable Walls: | Operation of the foilding partition walls
Fire Protection | Fire sprinkler system
HVAC: | Air Handler Units
VFD's
VAV Boxes
Chilled Beams
Makeup Air Unit # 1
Heat Exchangers & Pumps
Exhaust Fan
Fan Coil Units
Expansion tank
Glycol make-up
Terminal Heating equipment
Air Curtain
Radiant floor heating system
Snow Melt system
Electrical: | Switchboard, MCC and panelboards
Generator
UPS
Transformers
Lighting Control System & Dimmers
Fire Alarm: | Fire Alarm system & dialer Announciator panel
Mag lock @ doors
Controls: | Building Management System
Security System: | Security System
Audio/Video System: | A/V System
Data/Communication: | Data/Com Connectivity
Elevator: | Elevator operation and maintenance

## As-Built
PROJECT NAME:
PROJECT #:
CM@R NAME:
AS-BUILT & RECORD DRAWINGS REQUIREMENTS
TO BE PROVIDED BY SUBCONTRACTORS AT SUBSTANCIAL COMPLETION DATE
TO BE PROVIDED BY DESIGNERS 30 DAYS AFTER SUBSTANCIAL COMPLETION DATE
Drawings | Responsible Subcontractor | Responsible Designer | Description | Delivered by: (Signature) | Received by: (Signature)
Civil | Utilities Sub | Civil Eng. | Accurately record location of utilities remaining, rerouted utilities, new utilities by horizontal dimensions, elevations or inverts, and slope gradients.
Irrigation | Landscaping Sub | Landscaping Designer | Irrigation As Build drawings
Structural | Concrete Sub Structural Steel Sub Precast Concrete Sub | Structural Eng. | Record Set from Structural Engineer As-Built Shop Drawings set from Structural Steel Subcontractor As-Built Shop drawings Set from Structural Concrete Subcontractor As-Built Shop Drawings set from Precast Concrete Subcontractor
Architectural | All Subs | Architect | Record Set As-Built Shop Drawings from Glass & Glazing Sub As-Built Shop drawings from Roofing Sub As-Built Door Hardware Schedule from Doors, Frames, Hardware Sub As-Built Shop Drawings from Millwork Sub As-Build Shop Drawings from Operable Partitions Sub As-Built Shop Drawings from Toilet partitions Sub
Elevator | Elevator Sub | Architect | As-Built Shop drawings from Elevator Sub
Fire Protection | Fire Protection Sub |  | Fire Marshall approved shop drawings (Permit set)
Plumbing | Plumbing Sub | Plumbing Eng. | Record Set by Mechanical Engineer As-Built Shop drawings Set by Plumbing Subcontractor
HVAC | HVAC Sub | Mechanical Eng. | Record Set by Mechanical Engineer As-Built Shop drawings Set by HVAC Subcontractor As-Built Sequence of Operation from Controls Sub
Electrical | Electrical Sub | Electrical Eng. | Record Set byElectrical Engineer As-Built Shop drawings Set by Electrical Subcontractor As-Built Electrical Panel Schedules
Fire Alarm | Fire Alarm Sub |  | Fire Marshall approved shop drawings (Permit set)

## Material Attic Stock
PROJECT NAME:
PROJECT #:
CM@R NAME:
ATTIC STOCK REQUIREMENTS LOG
Spec' Section | Subcontractor Name | Description of Attic Stock Turned Over to NAU Capital Assets | Units | Quantities | Received by: | Date received: | Location of stored Attic Stock
Miscellaneous Keys |  | Turn over any: - fire extinguisher cabinets - toilet accessories - millwork cabinet keys - lockers keys - mailboxes keys - access door keys - electrical panel keys - Kirk Keys - irrigation controler key - …/… as applicable
Ceramic Tile/Base |  | Full size units equal to 5% of amount installed for each type, composition, color, pattern and size indicated.
Glass & Glazing |  | Miscellaneous Glass
Acoustical Ceilling Tiles |  | Tiles: Full size panels equal to 2 % of quantity installed.
Grid: Quantity of each exposed component equal to 2% of quantity installed.
Hold down clips: equal to 2 % of quantity installed.
Resilient Tile Flooring |  | Furnish extra materials matching products installed, packaged with protective covering for storage and identified with labels clearly describing contents. Full size units equal to 5 % of amount installed for each type indicated but notless than 10 sq. yd.
Wallbase |  | Furnish extra materials matching products installed, packaged with protective covering for storage and identified with labels clearly describing contents. Furnish not less than one box for each 50 boxes or fraction thereof, of each class, wearing surface, color, pattern and size of resilient floor tile installed.
Carpet Tile |  | Furnish extra materials matching products installed, packaged with protective covering for storage and identified with labels clearly describing contents. Full size units equal to 5 % of amount installed for each type indicated but notless than 10 sq. yd.
Wall Coverings |  | Furnish extra materials matching products installed, packaged with protective covering for storage and identified with labels clearly describing contents. Full size units equal to 5 % of amount installed for each type indicated but notless than 10 sq. yd.
Acoustical Wall Panels |  | Furnish extra materials matching products installed, packaged with protective covering for storage and identified with labels clearly describing contents.
Fabric: for each fabric, color and pattern installed provide length equal to 10 % of amount installed but no fewer than 10 yards.
Mounting devices: full size units equal to 5 % of amount installed but no fewer than 5 attachment devices.
Exterior/Interior Painting |  | Furnish extra materials matching products installed, packaged with protective covering for storage and identified with labels clearly describing contents. Furnish an additional (2) unopened 1 gallon cans of each material and color applied.
Wall Surface Protection Systems |  | Furnish extra materials matching products installed, packaged with protective covering for storage and identified with labels clearly describing contents.
Wall Guard covers: full size plastic covers of maximum length equal to 2 % of each type, color and texture of units installed, but no fewer than 8 foot long units.
Corner-Guard Covers: full size plastic covers of maximum length equal to 2 % of each type, color and texture of units installed, but no fewer than two, 4 foot long units.
Mounting and Accessory Components: Replacement materials shall be from same production run as installed units.
Metal Lockers |  | Furnish extra materials matching products installed, packaged with protective covering for storage and identified with labels clearly describing contents. Full size units of the following metal locker hardware items equal to 10 % of amount installed for each type and finish installed, but no fewer than 5 units: Locks, Identification Plates, Hooks.
Operable Panel Partitions |  | Furnish extra materials matching products installed, packaged with protective covering for storage and identified with labels clearly describing contents. Panel Finish-Facing Material: Furnish full width in quantity to cover both sides of two panels when installed.
Roller Shades |  | Furnish extra materials matching products installed, packaged with protective covering for storage and identified with labels clearly describing contents.
| Shade Units: | Full size units equal to 5 percent of amount installed for ach size indicated but not less than 1 unit.
Fire Sprinkler |  | (6) Sprinkler heads for facilities under 300 sprinklers (12) Sprinkler heads for facilities with 300-1000 sprinklers (24) Sprinkler heads for facilities over 1000 sprinklers
Plumbing |  | (1) Wall Hydrant Operating Key
HVAC |  | (2) bottles of red gauge oil for static pressure gauges.
(1) 55-gallon drum of propylene glycol
(2) repacking kits for each size and valve type.
(2) service kits for each size and type of steam trap.
(1) set of mechanical seals for each pumps.
(1) additional set for each AHU unit for fan belts & filters.
(2) sets of filters for each terminal heating & cooling units.
(2) of each size and type of fusible link for duct accessories.
(2) sets of belts for each fan.
Electrical |  | (3) spare primary fuses per Specification Section 261300. (1) Penta Head Wrench per Specification Section 261200.
Fire Alarm |  | (1) each type or 15% whichever is greater for initiating devices and for notification devices.