Satellite Accumulation SOP

Hazardous Waste Management Rules

All satellite wastes (RCRA and Non-RCRA regulated) on campus shall comply with 40 CFR 262.15. In summary, waste containers must be:

- In good condition

- Compatible with contents therein

- Located “at or near the point of generation”

- In the operator’s “direct control”

- Closed at all times except when:

- Adding, removing, or consolidating waste;

- Temporary venting is necessary; or

- Proper equipment operation requires an open container

- Clearly labeled with the following:

- Contents

- Hazards of the contents using specific verbiage or labels from GHS, NFPA, or DOT

- The words “Hazardous Waste” or “Non-RCRA Waste”

- Separated by a physical barrier from other containers that are incompatible

- Have an EHS Satellite Accumulation Sign (found at the end of this document) either attached directly to the container or within a readable distance from the container

Once the container is full, immediately write the date on the container or its label and submit a service request for pickup to EHS by going to nau.edu/ehs. In the description box include the size of the container(s), contents, location, best time for pickup, and if a replacement container or containers are needed.

In addition, all satellite accumulation areas must meet the Preparedness, Prevention, and Emergency Procedures outlined in the EHS Contingency Plan and comply with all other applicable regulations including but not limited to OSHA, NFPA, and IBC regulations.